[Insert company name and/or logo]

MINNESOTA STATE ROOF CONSTRUCTION OBSERVATION REPORT

Construction Progress Report #______	Date: [Insert Date]

| Project #: | 123456 |
| --- | --- |
| Project Name/Bldg.: | 2016 Reroofng/Main |
| College/University: | Minnesota State College or University |
| Location: | City, MN |
| Reported To: | College/University, Attn: (Campus Project Manager) Minnesota State system office-Attn: (Program Manager); |
| Architect: | ABC Roof Consultant |
| Contractors: | General=ABC Contracting Roofing=ABC Roofing Company Sheet Metal=ABC Sheet Metal Company |
| Observer: | Tom Jones |

| Crew Size |  | Approximate Squares | Start Time | End Time |
| --- | --- | --- | --- | --- |
| General: | 5 | N/A | 9:00 am | 2:00 pm |
| Roofing: | 7 | 3 | 7:30 am | 3:30 pm |
| Sheet Metal: | 2 | 3 | 12:00 pm | 5:15 pm |

| Observer: | 7:30 am | 5:15 pm |
| --- | --- | --- |

Weather:	Mostly Cloudy, 65º, moderate wind

PROJECT STATUS

Work in ProgressSection A

Project Start Date: June 4, 2016

Roof Working Day: 20

Allowed Roof Working Days: 45

Percent Complete: 20%

Substantial Completion: August 17, 2016

Field Observations:

Started scupper work today

Sheet metal work started on new curbs.

MINNESOTA STATE ROOF CONSTRUCTION OBSERVATION REPORT

[Insert Date]

Issues:

Action Taken on Issues:

[insert any issues and solutions]

CONSTRUCTION PHOTOS

MINNESOTA STATE ROOF CONSTRUCTION OBSERVATION REPORT

[Insert Date]

ROOFING PLAN – Section A

[Insert site plan and provide shading to indicate work in progress/completed using keying chart.]

CURRENT WORK AREA

MINNESOTA STATE ROOF CONSTRUCTION OBSERVATION REPORT

[Insert Date]

TESTING INFORMATTION

Moisture Tests:

Location:

Membrane Sample Evaluation

| # Location | Felts & Moppings | Average Mopping | Overlapping | Average Void/Interply | Felt-on Felt Sq. In. |
| --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |
| Project Spec: | 135-169 | 27 ± 15% | Satisfactory | 3% Ave. -5% Max. | None |
| In Spec: | □ | □ | □ | □ | □ |

Bitumen Temperatures

| Type: II | Source: Kettle | Temp: 470F |
| --- | --- | --- |

Asphalt Softening Test

| Sample No. | Softening Point | ASTM Specification D312 |
| --- | --- | --- |
| 1 | 160 F | II (158-176) F |

Gravel Samples: N/A

[insert conformance status of sample]

MATERIALS ON SITE:

| Material Type | Material Description | Meets Specification |
| --- | --- | --- |
| Bitumen/Adhesives |  | □ |
| Insulation | Tapered Iso | □ |
|  |  | □ |

Signed: